## Data Request 1
WAUTOMA SOLAR APPLICATION REVIEW - EFSEC COMMENTS TO ORIGINAL APPLICATION
ID | Section | Comment | Applicant response
Gen-1 | A.4 - Table of parcels and property owners | Wautoma Energy LLC is listed as the property owner for several parcels. Did Wautoma buy the land, or are they participating in leases for those properties? If they are leased, who is the land owner?
Gen-2 | D. Screening Summary | Some of the "Yess" and "N/As" are greyed out. Is this deliberate, or indicative of anything?
Gen-3 | E. List of studies | 3 studies are listed (Habitat and Gerneal Wildlife Survey Report Addendum, Botanical Survey Addendum, and Phase 1 Environmental Site Assessment) are all listed as planned/pending. Is there additional information on the ECD of these studies?
Gen-4 | Part 2 A.2.a Project description, describe proposal 1. Introduction | It is not clear, when reviewing the description of the Project area and Fenced area, what the total number of disturbed acres would be to include the project, infrastructure, and fencing. The maps indicate placement, but is the 4,573 acres inclusive of the fencing acreage or not?
Gen-5 | Part 2 A.2.a Project description, describe proposal 2.1.4 AC Medium Voltage Collector Network | Would each circuit have its own 3'x4' trench, and how many of these trenches are anticipated project-wide?
Gen-6 | Part 2 A.2.a Project description, describe proposal 2.1.4 AC Medium Voltage Collector Network | Are the buried cables outside the perimeter fence already included in the distrubance area indicated in the project acreage?
Gen-7 | Part 2 A.2.a Project description, describe proposal 2.1.6 Overhead Transmission Line | Is BPA going through NEPA for this connection? Please provide that analysis if so.
Gen-8 | Part 2 A.2.a Project description, describe proposal 3.0 Construction | Is the 22 month proposed schedule inclusive of phased construction options or not? If not, please indicate what a sample schedule may be in the event of phased construction.
Gen-9 | Part 2 A.5 Mitigation Measures | Point of clarification - required permits (e.g., HPA) and plans (e.g., CSWPPP) are regulatory requirements and not considered mitigation. Additionally, studies on their own are not mitigation. It would be better to identify options for mitigation based on the results of the indicated studies. | N/A
Gen-10 | Part 2 A.5 Mitigation Measures | Point of clarification - EFSEC is the issuing agency for the construction SW general permit. This would not be obtained directly from Ecology. This is indicated correctly in A.6, but in A.5, it references obtaining the permit from Ecology. | N/A
Transp -1 | Part 2 B.10 Transportation | Please expand more on the estimated 225 round trips per day. Is this primarily anticipated to be construction crew?
Transp -2 | Part 2 B.10 Transportation | Where will construction staff park. 10 spaces seems to be for operations and 225 round trips would need to be many more staff than would be accomodated by 10 spaces.
Earth-1 | 3.1/4.1 Earth, erosion | Is there a reference you can provide that demonstrates why soils in the project area are rated low to moderate for wind erodability?
Veg-1 | 4.8.C.1 Plants, Changes to the Existing Condition from the Project - Fire | Has DNR or the local fire response agency given any comment on the preventative measures planned, and/or the use of the potential cistern?
Wild-1 | 4.9.C.1 Animals, Changes to the Existing Condition from the Proposal - Big Game Habitats and Migration Routes | Please provide any update on moving the existing water sources designed for livestock.
EH-1 | 4.13.D Environmental Health - Hazardous Materials, Proposed Mitigation and Monitoring | Point of clarification - further references to plans required by regulation as mitigation included here, as well as reference to obtaining CSWGP from Ecology. Please ensure that appropriate parties are aware that EFSEC would be the issuing agency for this permit. | N/A
Rec-1 | 3.17.a Recreation | Can you please provide an example of times where hunting would be permitted during construction that would not incur helth and safety risks?
Rec-2 | 3.17.a Recreation | Please describe, if any, measures taken to prevent damage to facility or O&M staff from hunting activities.

## Sheet1
ID | SECTION | COMMENT | APPLICANT RESPONSE