## DR-1
Item | Section | Report | Information Request | Applicant Response
DR-HC-01 | Historic and Cultural Resources | ASC | Provide an explanation of why different Tribes are listed throughout the ASC. The Tribes differ between sections 1.F, 2.A.5, 2.B.6, 3.19.a, 4.18, 4.19.A, 4.19.B, and 4.19.C.
DR-HC-02 | Historic and Cultural Resources | ASC | Please note that the Wanapum are not a sovereign tribal government, they are enrolled in the federally recognized Confederated Tribes and Bands of the Yakama Nation. Additionally, please note that Rex Buck, Jr., listed as a Tribal contact, passed away in February 2022. The text should be updated and revised.
DR-A-01 | Air Quality | ASC | Provide numerical comparison of ambient air quality monitoring results to the applicable ambient air quality standards in the area for the last 3 years. Provide the source of the ambient air quality monitoring data.
DR-N-01 | Noise | ASC | The baseline calculations do not appear to refer to the correct reference. The below FHWA guide does not provide a means to calculate baseline, was it in reference to the FTA Transit Noise and Vibration Impact Assessment Manual (2018)? FHWA (Federal Highway Administration). 2006. FHWA Roadway Construction Noise Model User’s Guide, FHWA-HEP-05-054).
DR-N-02 | Noise | ASC Attachment H, Acoustic Assessment Report | Revise Table 6 of Attachment H to include the usage factor percentage as mentioned in the sentence preceding the table.
DR-N-03 | Noise | ASC Attachment H, Acoustic Assessment Report | Include distances used to calculate noise impacts in Attachment H, Table 7.
DR-N-04 | Noise | ASC | What number or size of BESS was used in the model? Was it modeled as point sources, area sources, or vertical area sources?
DR-N-05 | Noise | ASC Attachment H, Acoustic Assessment Report | Noise impacts from the tracking system motors during operations are considered a possible source of noise. Revise Table 8, Attachment H to include this possible source of noise for analysis of noise impacts.
DR-N-06 | Noise | ASC Attachment H, Acoustic Assessment Report | Noise sources used in the model were stated to have been “provided by equipment manufacturers, based on information contained in reference documents or developed using empirical methods.” Provide citations for the references used for the noise sources presented in Attachment H, Table 8.
DR-N-07 | Noise | ASC Attachment H, Acoustic Assessment Report | Provide the maximum modeling results to demonstrate compliance with the WAC (173-60) limits for each receiving land use EDNA classification. Section 4.16a.C.1 of the ASC states, “the Project is predicted to comply with all the applicable WAC regulatory limits at the Project Site Control Boundary.” Please provide data or other evidence to support this claim.
DR-REC-1 | Recreation | ASC | Provide a figure of known recreational opportunities within the viewshed (labeled “Project Potentially Visible”) shown in Figure 4 of the Visual Impact Assessment and an accompanying table identifying approximate distance from the Project and recreational opportunity provided.
DR-T-01 | Transportation | ASC | To ensure transportation circulation, safety, and that LOS will not degrade beyond acceptable levels, it is recommended that the Applicant provide a comprehensive traffic impact analysis (TIA) conducted by a licensed traffic engineer, including LOS analysis at critical intersections along SR-142 in Goldendale for the peak construction phase. The scope and content of the TIA study should be developed in coordination with WSDOT, Klickitat County, and EFSEC.
DR-V-01 | Vegetation | ASC | When will the Revegetation and Noxious Weed Management Plan available for EFSEC review? Information from the plan will be helpful for the ASC/SEPA review.
DR-V-02 | Vegetation | ASC Attachment F, Botanical Survey Report | Were surveys conducted for endangered, threatened, or sensitive bryophytes and lichens protected under the Washington Natural Heritage Program? If not, then please provide the reasons for not including these in the surveys.
DR-WLF-01 | Wildlife | ASC | The ASC does not discuss potential indirect effects to wildlife from sensory disturbance or other behavioral changes that may reduce the function of adjacent habitat. Identify the indirect loss of habitat.
DR-WLF-02 | Wildlife | ASC | Identify with supporting literature what the spacing will be between the fenced areas. Identify how wildlife corridors will be designed so as not to create pinch points and increase predation.
DR-WLF-03 | Wildlife | ASC | How will the fencing be installed to address small mammal access? Address how the design does not negatively impact predator-prey relationships.
DR-WLF-04 | Wildlife | ASC | Will buffers to special status species (e.g., gray squirrel) consider potential indirect effects from the project?
When will surveys be done to delineate buffers for gray squirrels?
How will nesting habitat for wild turkeys be mitigated during the outlined breeding period?
DR-WLF-05 | Wildlife | ASC | Is the site along a bird or bat migratory corridor?
DR-WLF-06 | Wildlife | ASC | Discuss impacts to general wildlife guilds. For example, small mammals are a food source for raptors; will burrows be impacted?
DR-WLF-07 | Wildlife | ASC | Bald eagles were identified as potentially occurring near the project. Include a detailed description of the likelihood of bald eagle occurrence and how this was determined.
DR-WLF-08 | Wildlife | ASC | Provide an evaluation of how the project will impact water quality and quantity and air quality at Goldendale Fish Hatchery, and groundwater supply.